Subpixel Registration and Distortion Measurement
Andrey Filippov
Elphel, Inc.
1405 W. 2200 S. #205
West Valley City, UT 84119

---
Eyesis4π multi-sensor camera

---
Checker-board and modified (“Escher”)
checker-board patterns comparison
a) Checker-board pattern(CBP) b) CBP with window applied
c) Power spectrum of the CBP d) Filtered power spectrum of the CBP
e) “Escher” pattern (EP) f) EP with window applied
g) Power spectrum of the EP h) Filtered power spectrum of the EP

---
Pattern registration
a) registered image. b) 128pix*128pix region for green channels. c) power spectrum (gamma=0.2). d) clusters around first maximums in 2 directions. e) 64x64 region centered around the estimated grid node. f) simulated grid with window function applied. g) mixed cross/phase correlation of registered and simulated arrays. h) combination of correlations with 4 half-pixel shifted models. i) result pixel X coordinate for each of the registered grid nodes. j) same for the pixel Y coordinate

---
Registration results: local curvature
of the detected pattern
Without brightness equalization of the
source image
With brightness equalization of the
source image
Full scale: 0.2 pix

---
Brightness equalization
of the registered pattern

---
Registration variation as a distance between
the registered and the predicted locations
a) Distance as brightness, white is 0.2 pix
Distance (smoothed) as a 3-d plot
Registration variation as a distance from the registered grid nodes to the predicted from the neighbors, assuming constant local curvature.

---
Eyesis4π multi-sensor camera
in calibration fixture
CAD rendering of the multi-sensor camera in the calibration fixture allowing rotation around two axes.

---
Subset of the registered images of the pattern

---
Reprojection errors for the individual images from the uniform pattern grid
Alternating X and Y distances.
 Full-scale (black to white) is ±2mm
In pseudocolors: different colors show different directions, intensity – the absolute value

---
Reprojection errors for the uniform pattern grid combined from the individual images
Alternating X and Y distances.
 Full-scale (black to white) is ±2mm
In pseudo-colors: different colors show different directions, intensity – the absolute value of the difference

---
Residual lens correction after the radial distortion model

---
Residual lens distortion for radial polynomials of different degrees

---
Pattern grid correction in 3-d
Alternating coordinates correction. X and Y black-to-white full scale corresponds to ±1mm, Z correction - to ±4 mm
Non-flatness of the pattern, in mm. Full pattern size is 3022 by 2667 mm

---
Measured camera locations
	Center	Right	Left
Number of Images	13	6	13
X position (mm)	-22.55	854.00	-675.39
Y position (mm)	67.83	64.10	64.89
Z position (mm)	2322.57	2361.53	2448.79
X standard deviation (mm)	0.62	0.46	0.62
Y standard deviation (mm)	0.57	0.51	0.52
Z standard deviation (mm)	0.21	0.33	0.42
Full standard deviation (mm)	0.87	0.76	0.91

---
Derivatives of the pixel coordinates with
respect to yaw, pitch and distance (center image)
Average (rms) yaw – 6.2 pix/degree, pitch – 4.0 pix/degree, distance – 0.36 pix/mm.
For the center image at 2322 mm, that corresponds to: X – 0.15 pix/mm, Y – 0.1 pix/mm and Z – 0.36 pix/mm